## Slide 1: July 11 Measurements
Pulsedwire measurements for centering wire.

## Slide 2: Why still taking measurements?
Lasers are now collimated, wire is as close to slit as possible. Previously I had been moving wire away from slit to reduce sensitivity and “increase” linear region. This was incorrect…
Python analysis gives more accurate measurements (average 30 shots) and without a reference magnet we can stay nearer to the good linear region.
  Reference magnet probably did more harm than good, especially since we were not scanning the derivative of the linear region.
Measure calibration of laser before-hand to ensure we are at best position. Always move laser to be at that signal when taking measurements.

## Slide 3: Calibrations
Xtrajectory:
Ytrajectory:

## Slide 4: Xoffset
Not sure if posts got displaced
  Wire is visibly uncentered in x
Top: Xtraj, Bottom:Ytraj

## Slide 5: Yoffset
Top: Xtraj, Bottom:Ytraj

## Slide 6: Putting on same plots…
Pretty similar trends…
Lets move the wire and see if consistent results continue…
Eyeball axis of Xoffset to be line through (0, 600), (14, 800)
Eyeball axis of Yoffset to be line through (0,0), (14, -200)

## Slide 7: Moving Wire (July 12, 11AM)
Previous position:
  P1 = (5.00, 11.55) mm
  P2 = (4.97, 10.75) mm
For line fits described on previous page, we need to move:
  dP1 = (-.340, .940)
  dP2 = (.980,-.380)
New exact positions:
  P1 = (4.66, 12.49)
  P2 = (5.95, 10.37)
To make easier on adjustments, I round to nearest 50um
New positions:
  P1 = (4.65, 12.50)
  P2 = (5.95, 10.35)

## Slide 8: July 12 Measurements
Xcalibration on left, Ycalibration on right

## Slide 9: Xoffset
text

## Slide 10: Yoffset
text

## Slide 11: Putting on same plots (July 12)
text

## Slide 12: Reminder where we were before adjustment (July 11)
Pretty similar trends…
Lets move the wire and see if consistent results continue…
Eyeball axis of Xoffset to be line through (0, 600), (14, 800)
Eyeball axis of Yoffset to be line through (0,0), (14, -200)

## Slide 13: If you wanted theory lines

## Slide 14: Moving Wire (July 13, 1PM)
Previous position:
  P1 = (4.65, 12.50)
  P2 = (5.95, 10.35)
Want to move +400um in x direction.
New positions:
  P1 = (5.05, 12.50)
  P2 = (6.35, 10.35)

## Slide 15: Check if ytraj,xoffset moved correctly
Calibration
Wirescan data